## Slide 1
Introduction & Understanding Wiring Effective Efficient Central Heating Systems
The NRG Awareness Method

## Slide 2
To help you understand the essential characteristics of good heating system control installation and practices.
Provide a better grasp of control wiring to improve customer comfort generation and proper DHW provision.
Show you how to wire simple, cost effective and reliable systems without sacrificing energy efficiency or comfort.
Maximise the potential for your clients heating system satisfaction with energy saving wiring techniques and equipment
ELIMINATE THE HASSEL IN WIRING GOOD HEATING SYSTEMS
This webinar provides a technical understanding of wiring Heating Systems with the NRG Lex - System Controls Module

## Slide 3
6.3 A Fused Power Supply - 230 V ~, 50 Hz / 60Hz, Single Phase
2 Fused (3 A) Boiler Power Supplies
4 Fused (1 A) Zones with Connections for Time and Temperature Controls
Fused (3 A) Auxiliary Provision -
LED Indication for Zone, Boiler Calls and Auxiliary Operation
Optional Frost Input to Boiler Call
Easy ‘Push-Open’ Connections for 0.5 to 1.5 mm2 Cable
4 Isolated Inputs with additional output connections & 2 Isolated Relay Outputs (C,NO,NC)
2 Optional Voltage-free or Switch-live Boiler Firing Control Circuits
Provides power and safety control for solid fuel interlinked systems.

## Slide 5
Zone
Controls
Power
Supply
Boiler
Control

## Slide 6
7
8
5
6
2
3
4
1
1A
Fused : Permanent Live to all Zone Controls
A1
B1
C1
D1
Zone
LED
Blr
LED
Power
LED
Clock
Power
N
L
Boiler
One
N
L
Boiler
Two
N
L
Mains
Power Supply
N
L
Zone Stat Output
A3
B3
C3
D3
Live From Zone Time Controls
A2
B2
C2
D2
Zone Neutral Connections
A5
A6
B5
B6
C5
C6
D5
D6
Zone Stat Input - Call Input
A4
B4
C4
D4
A7
B7
C7
D7
A8
B8
C8
D8
Zone
LED
Zone
LED
Zone
LED
1A
1A
1A
3A
3A
5A
3A
Zone Connections
Devices
R1
C
NO
NO
C
Zone A
Zone B
Zone C
Zone D
Zone Controls
Power Supply
Boiler Control
Time & Temperature
Control Example
FROST

## Slide 7
POWER SUPPLIES
ZONE WIRING CONNECTIONS
BOILER SWITCHING WIRING CONNECTIONS
Auxiliary Relay &
Auxiliary Power Supply

## Slide 8
24
L
L
L
L
21
22
23
Isolated
Auxiliary
Relay Inputs
27
28
29
30
25
26
Auxiliary
Power Supply
N
N
L1
L2
L3
L4
Mains
Power Supply
N
L
7
8
L
Auxiliary
LED
To Zone
Control
3A
5A
R1
AUXILIARY RELAY WIRING CONNECTIONS
Time & Temperature
Control Example
L
L
L
L
N
{ }
Auxiliary
Relay
Contacts
17
18
19
20
15
16
NC
C
NO
C
NO
NC

## Slide 9
AUXILIARY RELAY WIRING CONNECTIONS

## Slide 10
PUMP OR VALVE WIRING CONNECTIONS
7
8
5
6
2
3
4
1
27
28
29
30
25
26
Auxiliary
Power Supply
N
N
L1
L2
L3
L4
7
8
5
6
2
3
4
1
EARTH
GREY
Live
BLUE
Neutral
ORANGE
Switch Live
EARTH
LIVE
BLUE
Neutral
PUMP WIRING
MOTORISED VALVE WIRING
BROWN
Live

## Slide 12
Diagrams

## Slide 13
Thank You
for Your Time
System Diagrams

## Slide 14
1 Pellet Boiler - Electric Boiler - 2 Central Heating Zones - 1 DHW Zone
SYSTEM WIRING DIAGRAMS
2 Oil Boiler - Solid Fuel Stove - 2 Central Heating Zones - 1 DHW Zone
3 Oil Boiler - 4 Central Heating Zones
4 Oil Boiler - Solid Fuel Stove - 2 Central Heating Zones - 1 DHW Zone - Motorised Valves
5 Oil Boiler - Solid Fuel Stove - 1 Underfloor Heating Zone - 1 Radiator Zone - 1 DHW Zone
6 Oil Boiler - Solid Fuel Stove - 1 Central Heating Zone - 1 DHW Zone
7 Oil Boiler - 2 Solid Fuel Stoves - 1 Central Heating Zone - 1 DHW Zone
8 Gas Boiler - 1 Underfloor Heating Zone - 2 Radiator Zones
9 NRG Link - Heat Pump - Solid Fuel Stove - 3 Central Heating Zones - 1 DHW Zone
10 Heat Pump - 1 Underfloor Heating - 1 Radiator Zone - 1 DHW Zone
11 Gas Boiler With Voltage Free Switching - 2 Central Heating Zones - 1 DHW Zone
12 Gas Boiler With Switch Live Switching - 2 Central Heating Zones - 1 DHW Zone
13 Buffer Tank - 3 Underfloor Heating Zones - 1 DHW Zone
14 NRG Lex Interconnection - Gas Boiler- 7 Central Heating Zones - 1 DHW Zone

## Slide 15
Diagram Ref 1

## Slide 16
Diagram Ref 2

## Slide 17
Diagram Ref 3

## Slide 18
Diagram Ref 4

## Slide 19
Diagram Ref 5

## Slide 20
Diagram Ref 6

## Slide 21
Diagram Ref 7

## Slide 22
Diagram Ref 8

## Slide 23
Diagram Ref 9

## Slide 24
Diagram Ref 10

## Slide 25
Diagram Ref 11

## Slide 26
Diagram Ref 12

## Slide 27
Diagram Ref 13

## Slide 28
Diagram Ref 14

## Slide 29
Thank You
for Your Time